Questionnaire

Liebherr water content measurement system WMS

| Company: |  | Contact: |  |
| --- | --- | --- | --- |
| Address: |  | www.: |  |
| Phone: |  | E-Mail: |  |
| Branch: |  | Date: |  |

- Medium characteristics:

| Marking Medium/liquid: | other emulsion: Composition: |
| --- | --- |
| Medium temperatur (°C) | min.: norm.: max.: |
| Ambient temperature (°C) | min.: norm.: max.: |
| Pressure (bar) | min.: norm.: max.: |
| Density (kg/m³): | min.: norm.: max.: Variation: |
| Viscosity (Pas) | min.: norm.: max.: |

Water content reference:	min:      % water content		max:      % water content

Water saturation at:	 ca.      % water content		

Measuring range, water content:  +/-      % water content

Rate of wear:	 low    high

Adhesive strength:	 low    high

Conductivity:	 yes            no

Moisture reference (% water content):

Installation situation / Measuring point:

Sensor installation place:	 	 Tube size, Æ:       mm, or    “

Wall thickness:          mm    	

		 tank highness:	        m

Æ :	        m

other installation site:

Quick Change / retractable fitting necessary:	 yes            no

Distance measuring point (s) – PLC/Controll-system, max:       m

Number of measuring points:

Required EX-protection classification:

Separate indication- and parameterization module necessary:

OTHER:

Process connection:	2“ ANSI 600

Output signal	:	4 - 20 mA active supplied with sensor network,

max. load 500 Ohms, resolution 12 bit

Option: Standard-HART-Protocol

Power supply:	24 V DC (15...36 VDC) 150 mA DC

Short description of the plant or description of the process cycle around the measuring point: