Questionnaire

Liebherr moisture measurement system FMS II

| Customer: |  | Contact: |  |
| --- | --- | --- | --- |
| Address: |  | Phone: |  |
| E-mail: |  | Date: |  |
| Website: |  |  |  |

Material characteristics:

| Material to be measured: |  |
| --- | --- |
| Composition description: |  |
|  | Homogeneity: |
| Is metal present: | yes no content % Variation: |
| Powder & Bulk: | Other Powder&Bulk: Grain size: min: mm max: mm |
| Emulsion/other description: | Other emulsion: density: approx. g/cc (kg/dm³) Variation: |

Measuring range, moisture:	min:    %		max:     %

Water saturation at:	 approx.      % moisture
	
Required accuracy:	  +/-      %

Product abrasiveness:	 low    high

Product “stickiness”:	 low    high

Product conductivity:	 yes    no

Moisture reference (%moisture):

Ambient conditions:

Process temperature:  	min:    °C 			max:     °C

Ambient temperature:  	min:    °C 		max:     °C

Material layer on sensor:	min:       mm		max:       mm

Further information (e.g.: SIP, CIP):

(Food Grade level required (what level?):

Type of washdown used:

Installation:

Installation place:		 Tube   Æ:       mm

Other

Process type:      Continuous operation	 Batching operation (Starting signal 24V)

Distance from the sensor location/s to the controller:        feet or meters

Max range is 1,200 meters´- 3,900 feet total installed in series via optional RS-485 bus cable)

Number of measuring points / sensors heads:       (max. 16 sensor heads per controller interchange and evaluation unit)

Interchange and evaluation unit:

Desired interface to customer from the controller-interchange unit:

EX-protection

separate process display necessary

Brief description of the plant process and goal for In-Line measurements:

64	FMSABT